| Sr. No. | Part Name | Qt | MRP | Price | Link |
| --- | --- | --- | --- | --- | --- |
| Pneumatic Finger Actuation |  |  |  |  |  |
| 1) | Silicone Soft Actuator Glove with Air Chambers | 1 | 4386 | 4386 | https://amzn.in/d/fQi4mHx |
| 2) | 12V diaphragm air pump | 2 | 315 | 630 | https://robu.in/product/370-miniature-air-pump-diysmall-6v-silent-diaphragm-pump-electric-booster-beauty-instrument-vacuum-pump-accessories/ |
| 3) | Pneumatic Solenoid Valve | 3 | 217 | 651 | https://robu.in/product/fa0520f-12v-dc-2-position-3-way-small-mini-electric-solenoid-valve-for-air-gas/ |
| Wrist Actuation |  |  |  |  |  |
| 4) | High Torque Servo Motors | 3 | 1499 | 4497 | https://robu.in/product/surpass-hobby-25kg-s2500m-servo/ |
| 5) | Servo mounting brackets and hinges |  |  |  |  |
| Electronics and Control |  |  |  |  |  |
| 6) | Esp32 | 2 | 590 | 1180 | http://robu.in/product/esp32-wroom-32d-iot-development-doard-module-for-arduino/ |
| 7) | 4 Channel Relay | 1 | 234 | 234 | https://robu.in/product/4-channel-relay-module-5v-high-and-low-level-trigger-relay-module/ |
| 8) | Battery | 1 | 2536 | 2536 | https://robu.in/product/orange-3300mah-3s-25c-60c-lithium-polymer-battery-pack-lipo/ |
| 9) | Battery Charger | 1 | 337 | 337 | https://robu.in/product/b3ac-compact-balance-charger-2s-3s-lipo/ |
| 10) | Buck Converter | 4 | 90 | 360 | https://robu.in/product/ultra-small-size-dc-dc-5v-3a-bec-power-supply-buck-step-down-module/ |
| Sensors |  |  |  |  |  |
| 11) | IMU | 1 | 165 | 165 | https://robu.in/product/mpu-6050-gyro-sensor-2-accelerometer/ |
| 12) | EMG Sensor | 1 | 1250 | 1250 | https://robu.in/product/advancer-technologies-emg-muscle-sensor-v3-0-with-cable-and-electrodes/ |
| User Interface |  |  |  |  |  |
| 13) | Potentiometer | 1 | 82 | 82 | https://robu.in/product/10k-potentiometer-module/ |
| 14) | LCD | 1 | 81 | 81 | https://robu.in/product/basic-16x2-character-lcd-white-on-blue-on-blue-5v/ |
| 15) | I2C Module | 1 | 35 | 35 | https://robu.in/product/iic-i2c-serial-interface-adapter-module/ |
| Others |  |  |  |  |  |
| 16) | 3D Printing |  |  | 2000 |  |
| 17) | Miscellaneous |  |  | 2000 |  |
|  | Total |  |  | 20424 |  |